# *ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

**Contract title: Supply of gynaecological instruments p 1 /…**

**Publication reference:** **CN1 – SO1.2 – SC036** Tender 5/2021

**Columns 1-2 should be completed by the contracting authority**

**Columns 3-4 should be completed by the tenderer**

**Column 5 is reserved for the evaluation committee**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offeredspecifications.

| **1.****Item number** | **2.****Specifications required** | **3.****Specifications offered** | **4.** **Notes, remarks, ref to documentation** | **5.****Evaluation committee’s notes**  |
| --- | --- | --- | --- | --- |
| **1** | Forster - Ballenger forceps, str., 25 cm - 4 |  |  |  |
| **2** | Recamier Uterine Currete, sharp, malle, Fig. 4, 11 mm, 31 cm - 2 |   |  |  |
| **3** | Recamier Uterine Currete, sharp, malle, Fig. 5, 12 mm, 31 cm – 1 |   |  |  |
| **4** | Recamier Uterine Currete, sharp, rigid, Fig. 1, 7 mm, 31 cm – 1 |  |  |  |
| **5** | Recamier Uterine Currete, sharp, rigid, Fig. 1, 7 mm, 31 cm – 1 |  |  |  |
| **6** | Sims Uterine Curette, blunt, rigid, Fig. 6, 14 mm, 31 cm – 1 |  |  |  |
| **7** | Sims Uterine Curette, blunt, rigid, Fig. 7, 15 mm, 31 cm – 1 |  |  |  |
| **8** | Braun Stadler Perineum scissors 22,0cm - 2 |  |  |  |
| **9** | Hegar Uterine Dilator Set 8 pcs. , sizes from 3.0/4.0-17.0/18.0 mm - 1 |  |  |  |
| **10** | Scalpel handle, Standard No. 3 – 1 |  |  |  |
| **11** | Scalpel handle, Standard No. 4 – 1 |  |  |  |
| **12** | Scalpel handle No. 4 L – 1 |  |  |  |
| **13** | Mayo Surgical Scissors, straight,17cm – 2 |  |  |  |
| **14** | Mayo Surgical Scissors, curved, 17 cm – 2 |  |  |  |
| **15** | TC Metzenbaum Scissors, curved, 18 cm – 2 |  |  |  |
| **16** | Kelly Scissors, straight, 16 cm – 1 |  |  |  |
| **17** | Surgical Scissors, Fig. 2, str., 14 cm, sharp/blunt – 1 |  |  |  |
| **18** | Standard Dressing Forceps, str., 14,5 cm – 2 |  |  |  |
| **19** | Dissecting forceps 1:2, 14,5 cm – 2 |  |  |  |
| **20** | Dissecting forceps 1:2, 20 cm – 2 |  |  |  |
| **21** | Allis-Adair Tissue Forceps, str., 16 cm, 10 x 11 teeth – 2 |  |  |  |
| **22** | Pean Forceps, curved, 16 cm - 4 |  |  |  |
| **23** | Pean Forceps, curved, 18 cm – 4 |  |  |  |
| **24** | Bozemann Forceps, S-sha., 26 cm – 1 |  |  |  |
| **25** | Mayo-Hegar TC-Needle Holder, 18 cm – 2 |  |  |  |
| **26** | Mayo-Hegar TC-Needle Holder, 20 cm – 1 |  |  |  |
| **27** | Crile-Rankin Forceps, straight, 16 cm – 1 |  |  |  |